## Slide 1: Critical Infrastructure Security: Mitigating Cyber Threats in Smart Grid
Daisuke Mashima
Illinois at Singapore Pte Ltd
Advanced Digital Sciences Center
March 12, 2019
at
IBC Smart Energy Summit 2019
Version 2, WGT

## Slide 2: Brief Bio
Daisuke MASHIMA, PhD
Senior Research Scientist at ADSC and Research Affiliate at University of Illinois at Urbana Champaign
  2 government-funded smart grid security projects
Formerly research scientist at Fujitsu Laboratories of America
  Smart energy and smart home IoT systems
  Security and privacy in smart metering
  OpenADR2.0 standardization
  Cybersecurity and Privacy Symposium co-chair at IEEE SmartGridComm 2019
  Best paper award from IEEE SmartGridComm 2014
  President Awards and Standardization Promotion Award from Fujitsu
Education
PhD in Computer Science from Georgia Tech in 2012
  Security and privacy in Electronic Healthcare Records
01
Others
Experience

## Slide 3
03
04
Brief Bio
Cyber Threats in Smart Grid Infrastructure
Measures for Securing Smart Grid Systems
  Smart grid overview
  Security threats in smart grid
  IEC 62351
  Intrusion detection systems
  Bump-in-the-wire security
Concluding Remark
01
Outline
05
  Experience
  Education
  Award
State-of-the-art security scheme from ADSC
  SCADA command authentication
  Smart grid honeypot
02
01

## Slide 4: What is Smart Grid?
Power grid enhanced with ICT (information and communication technologies)
https://alittlefridaystory.com/2016/01/22/solar-power-a-new-hope/
  Reliability
  Efficiency
  Security
  Safety
02

## Slide 5: Modernization of Electrical Substations
Crucial component of power grid system for delivery of electricity (e.g., voltage transformation)
Over 10,000 substations in Singapore
Remotely managed or controlled for load/power shedding, voltage regulation, and topology control
https://en.wikipedia.org/wiki/Electrical_substation
02

## Slide 6: Modernization of Electrical Substations
02
Adoption of standard technologies such as IEC 60870-5-104 (or IEC104) or DNP3 and IEC 61850 for remote control and automation
IEC 61850-90-2 TR: Communication networks and systems for power utility automation –
Part 90-2: Using IEC 61850 for the communication between substations and control centres - Page 10
IEC104
IEC61850
(MMS/GOOSE)
Protocols used in EPIC smart grid testbed
Ahnaf Siddiqi, Nils Ole Tippenhauer, Daisuke Mashima, and Binbin Chen, "On Practical Threat Scenario Testing in an Electric Power ICS Testbed." In Proc. of the 4th ACM Cyber-Physical System Security Workshop (ACM CPSS 2018).

## Slide 7
https://www.belden.com/blog/industrial-security/goodbye-air-gaps-hello-improved-ics-security
Security by “Air Gap.” Myth or Truth?
02
Isolation from other systems or external network
Dedicated communication infrastructure
All devices were trusted.
Security was not part of protocol or system design.

## Slide 8
Targeted nuclear plants in Iran
Exploited multiple zero-day vulnerabilities on Windows
(null-byte.wonderhowto.com)
Stuxnet Worm
02
Can infect via USB drive
Successfully compromised PLC connected to centrifuge units

## Slide 9
Caused massive power outage in Ukraine
Ironically demonstrated “ICS Cyber Kill Chain”
(https://www.youtube.com/watch?v=8ThgK1WXUgk)
(https://ics.sans.org/media/E-ISAC_SANS_Ukraine_DUC_5.pdf)
Ukraine Power Plant Attacks
02
Ironically demonstrated “ICS Cyber Kill Chain”

## Slide 10
‘Reported in the Ukraine incident in 2016
‘Abuses widely-used ICS protocols, including １IEC 60870-5-104 and IEC 61850
  Capable of issuing valid SCADA commands
https://gigazine.net/news/20170613-crashoverride/
CrashOverride/Industroyer
02
‘Reported in the Ukraine incident in 2016
‘Abuses widely-used ICS protocols, including １IEC 60870-5-104 and IEC 61850

## Slide 11
Aurora Generator Test
02
Conducted by Idaho National Lab in 2007
Demonstrated how a cyber-originated attack can damage physical power grid components.
Succeeded in exploding a diesel generator in 3 minutes!
https://en.wikipedia.org/wiki/Aurora_Generator_Test

## Slide 12
03
04
Brief Bio
Cyber Threats in Smart Grid Infrastructure
Measures for Securing Smart Grid Systems
  Smart grid overview
  Security threats in smart grid
  IEC 62351
  Intrusion detection systems
  Bump-in-the-wire security
Concluding Remark
01
Outline
05
  Experience
  Education
  Award
State-of-the-art security scheme from ADSC
  SCADA command authentication
  Smart grid honeypot
02
01

## Slide 13
Define security specifications for smart grid communication protocols
  IEC 60870-5-104, IEC 61850, DNP3, etc.
Heng Chuan Tan, Carmen Cheh, Binbin Chen, and Daisuke Mashima, “Tabulating Cybersecurity Solutions for Substations: Towards Pragmatic Design and Planning.” Under submission.
IEC 62351 Standards
03

## Slide 14
Detect malicious/anomalous events in the system
Network-based IDS is popular in the ICS domain.
Intrusion Detection Systems
03
Signature-based IDS
  Based on “known” attack patterns
Anomaly-based IDS
  Statistics-based
  Machine-learning-based
Physics-based IDS
  Power-system physical laws (e.g., state estimation)
Ensemble IDS
DoS (SYN-flood) attack against IEC 61850 MMS
Scanning against DNP3

## Slide 15
Introduce devices to provide security features in add-on manner
Network traffic control with firewall and data diode
Bump-in-the-wire Solutions
03
https://www.stengg.com/en/electronics/companies-affiliates/st-electronics-info-security/digisafe-data-diode-solution/
https://www.tofinosecurity.com/products/Tofino-Firewall-LSM
Enhanced message authentication
  Add bump-in-the-wire (BITW) devices that handle cryptographic protocols in a transparent manner
BITW device integrated into EPIC Testbed

## Slide 16
03
04
Brief Bio
Cyber Threats in Smart Grid Infrastructure
Measures for Securing Smart Grid Systems
  Smart grid overview
  Security threats in smart grid
  IEC 62351
  Intrusion detection systems
  Bump-in-the-wire security
Concluding Remark
01
Outline
05
  Experience
  Education
  Award
State-of-the-art security scheme from ADSC
  SCADA command authentication
  Smart grid honeypot
02
01

## Slide 17
Authentication
Access Control
Security Patch
Anti-virus
Firewall
Data diode
Intrusion Detection
IEC 62351
Etc.
Need for Additional Lines of Defense
Substation
No longer fully effective once a trusted entity becomes malicious!
04

## Slide 18
Deployed at (near) the edge of cyber infrastructure
Reliably mediate incoming remote control commands
Evaluate legitimacy / validity of the commands before execution
Daisuke Mashima, Prageeth Gunathilaka, and Binbin Chen, "An Active Command Mediation Approach for Securing Remote Control Interface of Substations."
In Proc. of IEEE SmartGridComm 2016 in November, 2016.
Daisuke Mashima, Prageeth Gunathilaka, and Binbin Chen, “Artificial Command-delaying for Securing Substation Remote Control: Design and Implementation." In press for IEEE Transactions on Smart Grid.
Daisuke Mashima, Binbin Chen, Toby Zhou, Ramkumar Rajendran, and Biplab Sikdar, “Securing Substations through Command Authentication Using On-the-fly Simulation of Power System Dynamics.” In Proc. of IEEE SmartGridComm 2018.
Daisuke Mashima, Ramkumar Rajendran, Toby Zhou, Binbin Chen, and Biplab Sikdar, “On Optimization of Command-Delaying for Advanced Command Authentication in Smart Grid Systems.” Under submission.
A*CMD stands for Active Command Mediation Defense.
SCADA Command Authentication
04

## Slide 19
Steady-state power flow simulation
  Employed by many state-of-the-art schemes
  Fast to calculate
  Provides only limited information
  0
Power system dynamics simulation
  Transient-state behavior (e.g., frequency change) as well as cascading events
Frequency violation in term of WECC Category C limit
(59Hz over 7 second)
Command Authentication Based on Power System Dynamics Simulation
04
Nominal Freq.

## Slide 20
In cybersecurity domain, honeypot is a dummy system to attract attackers.
  Should look like a valuable, real system
  Intentionally exposed to attackers
Honeypot for Smart Grid Systems
04
Honeypot can be used to:
  Collect threat intelligence
  Buy time before actual attacks
  Detect persistent attackers

## Slide 21
Honeypot system for smart grid / ICS is not mature yet.
  Lack of physical-system behavior
Integrate power system simulation for consistent, cyber-physical system view
  Use system and network virtualization for realism and scalability
  Implemented on top of SoftGrid (http://www.illinois.adsc.com.sg/softgrid/)
Funded by Singapore Cybersecurity Consortium for enhancement of realism and functionality (2018-)
  https://sgcsc.sg/event-2018-09-seedgrant.html
High-fidelity Substation Honeypot
04
Monitoring
(e.g., Wireshark)
Daisuke Mashima, Binbin Chen, Prageeth Gunathilaka, and Edwin Tjiong, “Towards a Grid-wide, High-fidelity electrical Substation Honeynet.” In Proc. of IEEE SmartGridComm 2017.

## Slide 22
03
04
Brief Bio
Cyber Threats in Smart Grid Infrastructure
Measures for Securing Smart Grid Systems
  Smart grid overview
  Security threats in smart grid
  IEC 62351
  Intrusion detection systems
  Bump-in-the-wire security
Concluding Remark
01
Outline
05
  Experience
  Education
  Award
State-of-the-art security scheme from ADSC
  SCADA command authentication
  Smart grid honeypot
02
01

## Slide 23
Power grid is under cyber attack in reality!
SCADA command authentication provides the last line of defense before attacks are reaching physical systems.
Power grid operators, industry, and academia should join force. Please feel free to contact us for any discussion, demonstration, collaboration opportunities!
Substation honeypot is effective for collecting threat intelligence as well as for countering persistent attackers.
Existing security measures are not enough to counter emerging cyber threats.
Concluding Remarks
05

## Slide 24
https://www.slideshare.net/RobertMLee1/a-child-like-approach-to-grid-cybersecurity
Web: https://adsc.illinois.edu
Email: daisuke.m@adsc-create.edu.sg
Questions?